## SUMMARY
Project Name:
www.biddingpartners.com |  |  |  | Address:
+1 (347) 994-0941
| CSI DIV. | DESCRIPTION | TOTAL TRADE COST | REMARKS
| DIV.01 | GENERAL CONDITIONS | 170033.984
| DIV. 02 | DEMOLITION / EXISTING CONDITIONS | 45496.72
| DIV.31 | EARTHWORKS | 2435137.8189
| DIV.32 | EXTERIOR IMPROVEMENTS | 2764422.7819
| DIV.33 | UTILITIES | 81403.4439
|  | SUBTOTAL | 5496494.7486
|  | OVERHEAD & PROFIT - 25% | 1374123.6872
|  | TOTAL BID | 6870618.4358

## ESTIMATE
Project Name:
www.biddingpartners.com | [8 empty] | Address:
3479940941
SR # | REFERENCE SHEET | DETAIL SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 01 | GENERAL REQUIREMENTS | [10 empty] | 170033.984
1 |  |  |  | PERMITS & SITE SUPERVISION FEE | 1 | 0% | 1 | LS |  |  |  |  | 106271.24 | 106271.24
2 |  |  |  | Allowances | 1 | 0% | 1 | LS |  |  |  |  | 26567.81 | 26567.81
3 |  |  |  | Mobilization | 1 | 0% | 1 | LS |  |  |  |  | 37194.934 | 37194.934
|  |  | DIV. 02 | DEMOLITION / EXISTING CONDITIONS | [10 empty] | 45496.72
SITE DEMOLITION
4 | C-1 | C-1 |  | Remove Existing Asphalt Pavement | 1050.32 | 0% | 1050.32 | SF | 4 | 4201.28 | 0 | 0 | 4 | 4201.28
5 | C-1 | C-1 |  | 1-1/2" Mill & Overlay Existing Asphalt Pavement | 2780.22 | 0% | 2780.22 | SF | 12 | 33362.64 | 0 | 0 | 12 | 33362.64
6 | C-1 | C-1 |  | Remove Existing Striping | 276.2 | 0% | 276.2 | LF | 1 | 276.2 | 0 | 0 | 1 | 276.2
7 | C-1 | C-1 |  | Saw Cut Existing Asphalt Pavement (Saw Cut To Provide Smooth Edge) | 47.26 | 0% | 47.26 | LF | 35 | 1654.1 | 0 | 0 | 35 | 1654.1
8 | C-1 | C-1 |  | Remove Existing 18" Dia RCP Drain Pipe | 43.3 | 0% | 43.3 | LF | 75 | 3247.5 | 0 | 0 | 75 | 3247.5
9 | C-1 | C-1 |  | Remove Existing Traffic Control Legend " Only" Text | 1 | 0% | 1 | EA | 75 | 75 | 0 | 0 | 75 | 75
10 | C-1 | C-1 |  | Remove Existing Wooden Poles | 4 | 0% | 4 | EA | 670 | 2680 | 0 | 0 | 670 | 2680
|  |  | DIV. 31 | EARTHWORKS | [10 empty] | 2435137.8189
EXCAVATION & BACKFILL
STORM PIPES
11 | C-4 , C9 | C-4 , C9 |  | Excavation | 258.1944 | 10% | 284.0139 | CY | 75 | 21301.0417 | 0 | 0 | 75 | 21301.0417
12 | C-4 , C9 | C-4 , C9 |  | 4" Backfill (Class I Gravel Fill) - Haunch & Bedding | 34.0817 | 10% | 37.4898 | CY | 25.85 | 969.1122 | 29.15 | 1092.8286 | 55 | 2061.9408
13 | C-4 , C9 | C-4 , C9 |  | 24" Backfill (Class I Gravel Fill) - Initial Fill | 150.2756 | 10% | 165.3031 | CY | 40 | 6612.1244 | 0 | 0 | 40 | 6612.1244 |  | 2.25 | 0.5625
14 | C-4 , C9 | C-4 , C9 |  | 6" Backfill (Native Fill) - Final Fill | 51.6389 | 10% | 56.8028 | CY | 30 | 1704.0833 | 0 | 0 | 30 | 1704.0833 |  |  | 1.7663
WATER PIPES
15 | C-3 , C9 | C-3 , C9 |  | Excavation | 173.1111 | 10% | 190.4222 | CY | 75 | 14281.6667 | 0 | 0 | 75 | 14281.6667
16 | C-3 , C9 | C-3 , C9 |  | 4" Backfill (Class I Gravel Fill) - Haunch & Bedding | 28.5633 | 10% | 31.4197 | CY | 25.85 | 812.1984 | 29.15 | 915.8833 | 55 | 1728.0817
17 | C-3 , C9 | C-3 , C9 |  | 12" Backfill (Class I Gravel Fill) - Initial Fill | 80.8956 | 10% | 88.9851 | CY | 40 | 3559.4044 | 0 | 0 | 40 | 3559.4044 |  | 0.25 | 0.0625
18 | C-3 , C9 | C-3 , C9 |  | 6" Backfill (Native Fill) - Final Fill | 51.6389 | 10% | 56.8028 | CY | 30 | 1704.0833 | 0 | 0 | 30 | 1704.0833 |  |  | 0.19625
SEWER PIPES
19 | C-3 , C9 | C-3 , C9 |  | Excavation | 28.4444 | 10% | 31.2889 | CY | 75 | 2346.6667 | 0 | 0 | 75 | 2346.6667
20 | C-3 , C9 | C-3 , C9 |  | 4" Backfill (Class I Gravel Fill) - Haunch & Bedding | 4.6933 | 10% | 5.1627 | CY | 25.85 | 133.4549 | 29.15 | 150.4917 | 55 | 283.9467
21 | C-3 , C9 | C-3 , C9 |  | 12" Backfill (Class I Gravel Fill) - Initial Fill | 13.2922 | 10% | 14.6214 | CY | 40 | 584.8578 | 0 | 0 | 40 | 584.8578 |  | 0.25 | 0.0625
22 | C-3 , C9 | C-3 , C9 |  | 6" Backfill (Native Fill) - Final Fill | 7.7037 | 10% | 8.4741 | CY | 30 | 254.2222 | 0 | 0 | 30 | 254.2222 |  |  | 0.19625
GRADING
23 | C-4 | C-4 |  | Cut | 6281.517 | 10% | 6909.6687 | CY | 110 | 760063.5615 | 0 | 0 | 110 | 760063.5615
24 | C-4 | C-4 |  | Fill | 10527.0673 | 10% | 11579.7741 | CY | 35 | 405292.0923 | 0 | 0 | 35 | 405292.0923
SOIL IMPORTED
25 | C-4 | C-4 |  | Imported Soil | 4245.5503 | 10% | 4670.1053 | CY | 33.75 | 157616.0547 | 11.25 | 52538.6849 | 45 | 210154.7397
CLEARING & GRUBBING
26 | C-4 | C-4 |  | Remove (8" Thick) Vegetation Top Soil | 5542.3422 | 10% | 6096.5765 | CY | 72 | 438953.5052 | 0 | 0 | 72 | 438953.5052
27 | C-4 | C-4 |  | 8" Thick Top Soil (New) | 5542.3422 | 10% | 6096.5765 | CY | 33.75 | 205759.4556 | 11.25 | 68586.4852 | 45 | 274345.9407
28 | C-4 | C-4 |  | Land Clearing & Grubbing | 223348.12 | 10% | 245682.932 | SF | 1.18 | 289905.8598 | 0 | 0 | 1.18 | 289905.8598
|  |  | DIV. 32 | EXTERIOR IMPROVEMENTS | [10 empty] | 2764422.7819
CIVIL WORKS
HEAVY DUTY ASPHALT PAVEMENT
29 | C-2 | C-9 |  | 1-1/2" Thick Asphaltic Concrete Wearing Coarse | 35747.31 | 10% | 39322.041 | SF | 2.35 | 92406.7963 | 2.65 | 104203.4087 | 5 | 196610.205
30 | C-2 | C-9 |  | 3-1/2" Thick Asphaltic Concrete Binder Coarse | 35747.31 | 10% | 39322.041 | SF | 1.974 | 77621.7089 | 2.226 | 87530.8633 | 4.2 | 165152.5722
31 | C-2 | C-9 |  | 6" Thick Graded Aggregate Base Coarse | 661.9872 | 10% | 728.1859 | CY | 36.04 | 26243.8214 | 31.96 | 23272.8228 | 68 | 49516.6442
32 | C-2 | C-9 |  | 12" Thick Density Approved Subgrade Or Imported Fill | 1323.9744 | 10% | 1456.3719 | CY | 21.15 | 30802.2654 | 23.85 | 34734.4696 | 45 | 65536.735
LIGHT DUTY ASPHALT PAVEMENT
33 | C-2 | C-9 |  | 1-1/2" Thick Asphaltic Concrete Wearing Coarse | 25733.98 | 10% | 28307.378 | SF | 2.115 | 59870.1045 | 2.385 | 67513.0965 | 4.5 | 127383.201
34 | C-2 | C-9 |  | 2" Thick Asphaltic Concrete Binder Coarse | 537.12 | 10% | 590.832 | SF | 1.833 | 1082.9951 | 2.067 | 1221.2497 | 3.9 | 2304.2448
35 | C-2 | C-9 |  | 6" Thick Graded Aggregate Base Coarse | 476.5552 | 10% | 524.2107 | CY | 36.04 | 18892.5538 | 31.96 | 16753.7741 | 68 | 35646.3279
36 | C-2 | C-9 |  | 12" Thick Density Approved Subgrade Or Imported Fill | 953.1104 | 10% | 1048.4214 | CY | 21.15 | 22174.1128 | 23.85 | 25004.8506 | 45 | 47178.9633
ALDOT ASPHALT DRIVEWAY
37 | C-2 | C-7 |  | 1/2" Thick Superpave Bituminous Concrete Wearing Coarse | 3893.7 | 10% | 4283.07 | SF | 1.786 | 7649.563 | 2.014 | 8626.103 | 3.8 | 16275.666
38 | C-2 | C-7 |  | 1" Thick Superpave Bituminous Concrete Upper Binder Layer | 3893.7 | 10% | 4283.07 | SF | 1.316 | 5636.5201 | 1.484 | 6356.0759 | 2.8 | 11992.596
39 | C-2 | C-7 |  | 1" Thick Superpave Bituminous Concrete Lower Binder Layer | 3893.7 | 10% | 4283.07 | SF | 1.316 | 5636.5201 | 1.484 | 6356.0759 | 2.8 | 11992.596
40 | C-2 | C-7 |  | 1" Thick Superpave Bituminous Concrete Last Lower Binder Layer | 3893.7 | 10% | 4283.07 | SF | 1.316 | 5636.5201 | 1.484 | 6356.0759 | 2.8 | 11992.596
41 | C-2 | C-7 |  | 6" Thick Plant Mix Bituminous Base - Mix-1 | 72.1056 | 10% | 79.3161 | CY | 36.04 | 2858.5526 | 31.96 | 2534.9429 | 68 | 5393.4956
42 | C-2 | C-7 |  | 12" Thick Density Approved Subgrade Or Imported Fill | 144.2111 | 10% | 158.6322 | CY | 21.15 | 3355.0715 | 23.85 | 3783.3785 | 45 | 7138.45
HEAVY DUTY CONCRETE PAVEMENT
43 | C-2 | C-9 |  | 6" Reinforced Portland Cement Concrete Pavement | 11041.94 | 10% | 12146.134 | SF | 6.58 | 79921.5617 | 7.42 | 90124.3143 | 14 | 170045.876
44 | C-2 | C-9 |  | 4" Graded Aggregate Base Coarse | 134.957 | 10% | 148.4527 | CY | 29.15 | 4327.3976 | 25.85 | 3837.5036 | 55 | 8164.9012
45 | C-2 | C-9 |  | 12" Density Approved Subgrade Or Imported Fill | 408.9607 | 10% | 449.8568 | CY | 16.45 | 7400.1446 | 18.55 | 8344.8439 | 35 | 15744.9885
46 | C-2 | C-9 |  | 1/2" Expansion Joint (Grey Flexible Self Leveling Joint Filler "DOW 890SL, CRAFCO Roadsaver Silicon Or Approved) @ 40' O.C. | 552.097 | 10% | 607.3067 | LF | 1.504 | 913.3893 | 1.696 | 1029.9922 | 3.2 | 1943.3814
STANDARD / LIGHT DUTY CONCRETE PAVEMENT
47 | C-2 | C-9 |  | 5" Reinforced Portland Cement Concrete Pavement | 25180.24 | 10% | 27698.264 | SF | 6.58 | 182254.5771 | 7.42 | 205521.1189 | 14 | 387775.696
48 | C-2 | C-9 |  | 4" Graded Aggregate Base Coarse | 307.7585 | 10% | 338.5343 | CY | 25.85 | 8751.1126 | 29.15 | 9868.2759 | 55 | 18619.3886
49 | C-2 | C-9 |  | 12" Density Approved Subgrade Or Imported Fill | 932.6015 | 10% | 1025.8616 | CY | 16.45 | 16875.4238 | 18.55 | 19029.7332 | 35 | 35905.157
50 | C-2 | C-9 |  | 1/2" Expansion Joint (Grey Flexible Self Leveling Joint Filler "DOW 890SL, CRAFCO Roadsaver Silicon Or Approved) @ 40' O.C. | 1259.012 | 10% | 1384.9132 | LF | 1.504 | 2082.9095 | 1.696 | 2348.8128 | 3.2 | 4431.7222
CONCRETE FLUME
51 | C-2 | C-9 |  | 4" Thick Concrete Flume | 175.84 | 10% | 193.424 | SF | 5.64 | 1090.9114 | 6.36 | 1230.1766 | 12 | 2321.088
52 | C-2 | C-9 |  | 6"X6"XW1.4 Welded Wire Fabric Mesh | 175.84 | 10% | 193.424 | SF | 0.94 | 181.8186 | 1.06 | 205.0294 | 2 | 386.848
CONCRETE CURBS
53 | C-2 | C-9 |  | 24" Concrete Curbs & Gutter | 1502.27 | 10% | 1652.497 | LF | 30.96 | 51161.3071 | 41.04 | 67818.4769 | 72 | 118979.784
54 | C-2 | C-9 |  | 6" Concrete Curbs | 300.24 | 10% | 330.264 | LF | 22.36 | 7384.703 | 29.64 | 9789.025 | 52 | 17173.728
55 | C-2 | C-9 |  | 1/2" Pre Molded Expansion Joint Along The Curb | 1802.51 | 10% | 1982.761 | LF | 1.505 | 2984.0553 | 1.995 | 3955.6082 | 3.5 | 6939.6635
MILL & WEARING
56 | C-2 | C-9 |  | 1-1/2" Mill & Wearing Surface Overlay | 2731.49 | 10% | 3004.639 | SF | 4.5 | 13520.8755 | 9.5 | 28544.0705 | 14 | 42064.946
WHEEL STOPPER
57 | C-2 | C-9 |  | 6' Long Pre Cast Wheel Stopper | 27 | 0% | 27 | EA | 18.016 | 486.432 | 56.3 | 1520.1 | 74.316 | 2006.532
58 | C-2 | C-9 |  | 2#3 Bars Along The Length | 121.824 | 10% | 134.0064 | LBS | 0.989 | 132.5323 | 1.311 | 175.6824 | 2.3 | 308.2147
STEEL BOLLARDS
59 | C-2 | C-9 |  | 4" Dia Sch 40 Concrete Filled Pipe Bollard | 42 | 0% | 42 | EA | 288.1 | 12100.2 | 381.9 | 16039.8 | 670 | 28140
FENCING & GATES
60 | C-2 | C-9 |  | 16' High Chain Link Fence | 288.15 | 10% | 316.965 | LF | 18.92 | 5996.9778 | 25.08 | 7949.4822 | 44 | 13946.46
61 | C-2 | C-9 |  | 8' High Chain Link Fence | 50.22 | 10% | 55.242 | LF | 13.76 | 760.1299 | 18.24 | 1007.6141 | 32 | 1767.744
62 | C-2 | AS-1.1 |  | 9 GA. Black Vinyl Coated (2" Mesh) Chain Link Fabric - At 16' High Chain Link Fence | 4610.4 | 10% | 5071.44 | SF | 2.58 | 13084.3152 | 3.42 | 17344.3248 | 6 | 30428.64
63 | C-2 | AS-1.1 |  | 9 GA. Black Vinyl Coated (2" Mesh) Chain Link Fabric - At 8' High Chain Link Fence | 401.76 | 10% | 441.936 | SF | 2.58 | 1140.1949 | 3.42 | 1511.4211 | 6 | 2651.616
64 | C-2 | C-9 |  | (6'X8') Chain Link Fence Gate | 1 | 0% | 1 | EA | 206.4 | 206.4 | 273.6 | 273.6 | 480 | 480
65 | C-2 | C-9 |  | 20' Long Automatic Rolling Cantilevered Gate w/ Feedback Loop | 1 | 0% | 1 | EA | 3612 | 3612 | 4788 | 4788 | 8400 | 8400
66 | C-2 | C-9 |  | 20' Long Manual Rolling Cantilevered Gate | 1 | 0% | 1 | EA | 2580 | 2580 | 3420 | 3420 | 6000 | 6000
PARKING STRIPES
67 | C-2 | C-9 |  | 12" Wide Painted White Parking Stripes | 874 | 10% | 961.4 | LF | 1.224 | 1176.7536 | 0.576 | 553.7664 | 1.8 | 1730.52
68 | C-2 | C-9 |  | 4" Painted Yellow Stripes | 448.08 | 10% | 492.888 | LF | 0.68 | 335.1638 | 0.32 | 157.7242 | 1 | 492.888
69 | C-2 | C-9 |  | 4" Painted Yellow Stripes | 570.62 | 10% | 627.682 | LF | 0.68 | 426.8238 | 0.32 | 200.8582 | 1 | 627.682
70 | C-2 | C-9 |  | 4" Painted White Parking Stripes | 722.94 | 10% | 795.234 | LF | 0.68 | 540.7591 | 0.32 | 254.4749 | 1 | 795.234
71 | C-2 | C-9 |  | 4" Wide Painted White & Blue Parking Stripes | 1480 | 10% | 1628 | LF | 0.68 | 1107.04 | 0.32 | 520.96 | 1 | 1628
72 | C-2 | C-9 |  | 4" Wide Painted Blue Parking Stripes | 1480 | 10% | 1628 | LF | 0.68 | 1107.04 | 0.32 | 520.96 | 1 | 1628
73 | C-2 | C-9 |  | 5" Solid Yellow Thermoplastic Striping | 139.02 | 10% | 152.922 | LF | 0.816 | 124.7844 | 0.384 | 58.722 | 1.2 | 183.5064
74 | C-2 | C-9 |  | 5" Solid White Thermoplastic Striping | 553.75 | 10% | 609.125 | LF | 0.816 | 497.046 | 0.384 | 233.904 | 1.2 | 730.95
75 | C-2 | C-9 |  | 5" Dotted White Thermoplastic Striping | 95.67 | 10% | 105.237 | LF | 0.884 | 93.0295 | 0.416 | 43.7786 | 1.3 | 136.8081
76 | C-2 | C-9 |  | 24" White Thermoplastic Stop Bar | 38 | 10% | 41.8 | LF | 1.496 | 62.5328 | 0.704 | 29.4272 | 2.2 | 91.96
PARKING SIGNAGE
77 | C-2 | C-9 |  | Handicap Sign (McCue Bumper Sign) , Size: (2'-10"X1'-6") | 4 | 0% | 4 | EA | 43.4688 | 173.8752 | 92.3712 | 369.4848 | 135.84 | 543.36
78 | C-2 | C-9 |  | Veteran Parking Sign (McCue Bumper Sign) , Size: (2'-10"X1'-6") | 2 | 0% | 2 | EA | 43.4688 | 86.9376 | 92.3712 | 184.7424 | 135.84 | 271.68
79 | C-2 | C-9 |  | Online Customer Parking Sign (McCue Bumper Sign) , Size: (2'-11"X1'-6") | 2 | 0% | 2 | EA | 44.2368 | 88.4736 | 94.0032 | 188.0064 | 138.24 | 276.48
80 | C-2 | C-9 |  | R1-1 Stop Sign , Size: (36"X36") | 1 | 0% | 1 | EA | 43.4688 | 43.4688 | 92.3712 | 92.3712 | 135.84 | 135.84
81 | C-2 | C-9 |  | White " ONLY " Thermoplastic Traffic Legends | 1 | 0% | 1 | EA | 92.16 | 92.16 | 195.84 | 195.84 | 288 | 288
82 | C-2 | C-9 |  | Thermoplastic Traffic Arrow Legends | 2 | 0% | 2 | EA | 25.6 | 51.2 | 54.4 | 108.8 | 80 | 160
83 | C-2 | C-9 |  | Pylon Sign | 1 | 0% | 1 | EA | 38.4 | 38.4 | 81.6 | 81.6 | 120 | 120
84 | C-2 | C-9 |  | Painted Handicap Symbol | 4 | 0% | 4 | EA | 40.96 | 163.84 | 87.04 | 348.16 | 128 | 512
85 | C-2 | C-9 |  | Install MCCUE BS-VS Bumper Sign - 4' High | 1 | 0% | 1 | EA | 35.84 | 35.84 | 76.16 | 76.16 | 112 | 112
86 | C-2 | C-9 |  | 1/8" Thick Wall Extruded Aluminum Post - 9' High (2' Embedded) | 13 | 0% | 13 | EA | 136 | 1768 | 289 | 3757 | 425 | 5525
TRAFFIC CONTROL SIGNAGE
87 | C-15 | C-15 |  | W20-5 (24"x24") "RIGHT LANE CLOSED 1500 FT" Signage | 1 | 0% | 1 | EA | 59.2 | 59.2 | 125.8 | 125.8 | 185 | 185
88 | C-15 | C-15 |  | W20-5 (24"x24") "RIGHT LANE CLOSED 1000 FT" Signage | 1 | 0% | 1 | EA | 59.2 | 59.2 | 125.8 | 125.8 | 185 | 185
89 | C-15 | C-15 |  | W4-2 (24"x24") Lane Turn Signage | 2 | 0% | 2 | EA | 44.8 | 89.6 | 95.2 | 190.4 | 140 | 280
90 | C-15 | C-15 |  | W20-5 (24"x24") " LEFT LANE CLOSED 1500 FT" Signage | 1 | 0% | 1 | EA | 57.6 | 57.6 | 122.4 | 122.4 | 180 | 180
91 | C-15 | C-15 |  | W20-5 (24"x24") "LEFT LANE CLOSED 1000 FT" Signage | 1 | 0% | 1 | EA | 57.6 | 57.6 | 122.4 | 122.4 | 180 | 180
92 | C-15 | C-9 |  | 1/8" Thick Wall Extruded Aluminum Post - 9' High (2' Embedded) | 6 | 0% | 6 | EA | 136 | 816 | 289 | 1734 | 425 | 2550
MISC. ITEMS
93 | C-2 | C-9 |  | Pre-Fabricated Steel Dock/ Ramp | 916.67 | 10% | 1008.337 | SF | 26.04 | 26257.0955 | 35.96 | 36259.7985 | 62 | 62516.894
94 | C-2 | C-9 |  | Proposed Location Propane Dispensing Pumping Station . Size: (4'X18') Note: No Details Found | 1 | 0% | 1 | EA | 1407 | 1407 | 1943 | 1943 | 3350 | 3350
95 | C-2 | AS-1.1 |  | (8'X12'X8') Metal Canopy w/ Structure , (Structure To Have Side Panels ,R - Panel Roof Color To Match Versatube "Stone" , Based On (29'X13') Concrete Pad) | 1 | 0% | 1 | EA | 1806 | 1806 | 2494 | 2494 | 4300 | 4300
96 | C-2 | C-9 |  | Trash Dumpster , Size: (4'-6"X5'-6") | 1 | 0% | 1 | EA | 1113 | 1113 | 1537 | 1537 | 2650 | 2650
SIGN POST FOOTING
97 | C-2 | C-9 |  | 8" Dia Circular Footing - 2'-6" High | 0.61 | 10% | 0.671 | CY | 199.5 | 133.8645 | 275.5 | 184.8605 | 475 | 318.725
BOLLARD FOOTING
98 | C-2 | C-9 |  | 16" Dia Concrete Footing -4' High | 8.6 | 10% | 9.46 | CY | 199.5 | 1887.27 | 275.5 | 2606.23 | 475 | 4493.5
LANDSCAPE
99 | L-1 | L-1 |  | Hydroseed | 18546 | 10% | 20400.6 | SF | 0.1166 | 2378.71 | 0.1034 | 2109.422 | 0.22 | 4488.132
100 | A-1.0 | A-1.0 |  | Bahia grass | 65296 | 10% | 71825.6 | SF | 0.1855 | 13323.6488 | 0.1645 | 11815.3112 | 0.35 | 25138.96
TREES
101 | LP-200 | LP-200 |  | Common Name: Sweetbay Magnolia , Size: 30 Gallon , Height: 10'-12' | 3 | 0% | 3 | EA | 650 | 1950 | 410 | 1230 | 1060 | 3180
102 | LP-200 | LP-200 |  | Common Name: Willow Oak , Size: 2" Cal , Height: 8'-10' | 5 | 0% | 5 | EA | 825 | 4125 | 995 | 4975 | 1820 | 9100
EROSION CONTROL
103 | C-13 | C-14 |  | Construction Exit Pad - 12" Thick Stone Aggregate | 97.5648 | 10% | 107.3213 | CY | 39.75 | 4266.0215 | 35.25 | 3783.0757 | 75 | 8049.0972
104 | C-13 | C-14 |  | Storm Water Basin | 18797.03 | 10% | 20676.733 | SF | 13.44 | 277895.2915 | 28.56 | 590527.4945 | 42 | 868422.786
105 | C-13 | C-14 |  | Debris Containment | 237.72 | 10% | 261.492 | SF | 9.6 | 2510.3232 | 20.4 | 5334.4368 | 30 | 7844.76
106 | C-13 | C-14 |  | Class II Rip Rap w/ Fabric | 584.93 | 10% | 643.423 | SF | 20.8 | 13383.1984 | 44.2 | 28439.2966 | 65 | 41822.495
107 | C-13 | C-14 |  | Concrete Washout Area | 113.53 | 10% | 124.883 | SF | 12.8 | 1598.5024 | 27.2 | 3396.8176 | 40 | 4995.32
108 | C-13 | C-14 |  | Concrete Washout Plywood Signage , Size: (4'X2') | 1 | 0% | 1 | EA | 89.6 | 89.6 | 190.4 | 190.4 | 280 | 280
109 | C-13 | C-14 |  | (3-1/2"x3-1/2") Wooden Sign Post - 8' High | 2 | 0% | 2 | EA | 196 | 392 | 416.5 | 833 | 612.5 | 1225
110 | C-1 | C-1 |  | Silt Fence - Type A ( Sediment Barrier) | 1959.06 | 10% | 2154.966 | LF | 2.1291 | 4588.1381 | 2.4009 | 5173.8579 | 4.53 | 9761.996
111 | C-1 | C-1 |  | Wattle | 157.85 | 10% | 173.635 | LF | 1.28 | 222.2528 | 2.72 | 472.2872 | 4 | 694.54
112 | C-13 | C-14 |  | Inlet protection | 7 | 0% | 7 | EA | 117.5 | 822.5 | 132.5 | 927.5 | 250 | 1750
113 | C-13 | C-14 |  | Outlet Protection | 7 | 0% | 7 | EA | 117.5 | 822.5 | 132.5 | 927.5 | 250 | 1750
|  |  | DIV. 33 | UTILITIES | [10 empty] | 81403.4439
STORM ITEMS
STORM PIPES
114 | C-4 | C-10 |  | 15" Dia HDPE Drain Pipe | 28.93 | 10% | 31.823 | LF | 8.4 | 267.3132 | 20 | 636.46 | 28.4 | 903.7732
115 | C-4 | C-10 |  | 18" Dia HDPE Drain Pipe | 378.36 | 10% | 416.196 | LF | 10.08 | 4195.2557 | 24 | 9988.704 | 34.08 | 14183.9597
116 | C-4 | C-10 |  | 12" Dia HDPE Drain Pipe | 442.73 | 10% | 487.003 | LF | 6.3 | 3068.1189 | 15 | 7305.045 | 21.3 | 10373.1639
117 | C-4 | C-10 |  | 24" Dia RCP Drain Pipe | 8.03 | 10% | 8.833 | LF | 11.76 | 103.8761 | 28 | 247.324 | 39.76 | 351.2001
118 | C-4 | C-10 |  | 1" Dia PVC Pipe - For Temporary Stormwater Drainage During Construction | 43.96 | 10% | 48.356 | LF | 1.05 | 50.7738 | 2.5 | 120.89 | 3.55 | 171.6638
STORM BENDS
119 | C-4 | C-10 |  | (12"X12") 45 Deg Wye | 2 | 0% | 2 | EA | 14.7 | 29.4 | 35 | 70 | 49.7 | 99.4
120 | C-4 | C-10 |  | (12"X6") 45 Deg Wye | 3 | 0% | 3 | EA | 10.08 | 30.24 | 24 | 72 | 34.08 | 102.24
STORM MISC. ITEMS
121 | C-4 | C-10 |  | SI-1 Curb Inlet w/ Type C Grate , Manufacturer: R-3067 Neenah , Size: (3'X3') | 1 | 0% | 1 | EA | 333.9 | 333.9 | 795 | 795 | 1128.9 | 1128.9
122 | C-4 | C-10 |  | SI-2 Curb Inlet w/ Type C Grate, Manufacturer: R-3067 Neenah , Size: (3'X3') | 1 | 0% | 1 | EA | 333.9 | 333.9 | 795 | 795 | 1128.9 | 1128.9
123 | C-4 | C-10 |  | SI-3 Curb Inlet w/ Type C Grate , Manufacturer: R-3067 Neenah , Size: (3'X3') | 1 | 0% | 1 | EA | 333.9 | 333.9 | 795 | 795 | 1128.9 | 1128.9
124 | C-4 | C-10 |  | SI-4 Curb Inlet w/ Type C Grate , Manufacturer: R-3067 Neenah , Size: (3'X3') | 1 | 0% | 1 | EA | 333.9 | 333.9 | 795 | 795 | 1128.9 | 1128.9
125 | C-4 | C-10 |  | 12" Clean Out | 2 | 0% | 2 | EA | 126 | 252 | 174 | 348 | 300 | 600
126 | C-4 | C-10 |  | Connect 6" PVC Drain Pipe To 12" HDPE Drain Pipe | 3 | 0% | 3 | EA | 21.84 | 65.52 | 52 | 156 | 73.84 | 221.52
WATER ITEMS
WATER PIPES
127 | C-3 | C-11 |  | 6" Dia C900 Fire Lane | 396.37 | 10% | 436.007 | LF | 5.04 | 2197.4753 | 12 | 5232.084 | 17.04 | 7429.5593
128 | C-3 | C-11 |  | 2" Dia PVC Water Pipe | 382.54 | 10% | 420.794 | LF | 2.52 | 1060.4009 | 3.48 | 1464.3631 | 6 | 2524.764
WATER PIPE BENDS
129 | C-3 | C-11 |  | 6" C900 45 Deg Bend | 1 | 0% | 1 | EA | 15.8004 | 15.8004 | 37.62 | 37.62 | 53.4204 | 53.4204
130 | C-3 | C-11 |  | 6" C900 22.5 Deg Bend | 1 | 0% | 1 | EA | 14.7 | 14.7 | 35 | 35 | 49.7 | 49.7
131 | C-3 | C-11 |  | 6" C900 90 Deg Bend | 1 | 0% | 1 | EA | 13.44 | 13.44 | 32 | 32 | 45.44 | 45.44
132 | C-3 | C-11 |  | 2" PVC 45 Deg Bend | 1 | 0% | 1 | EA | 6.0396 | 6.0396 | 14.38 | 14.38 | 20.4196 | 20.4196
133 | C-3 | C-11 |  | 2" PVC 22.5 Deg Bend | 1 | 0% | 1 | EA | 5.88 | 5.88 | 14 | 14 | 19.88 | 19.88
134 | C-3 | C-11 |  | 2" PVC 90 Deg Bend | 1 | 0% | 1 | EA | 5.859 | 5.859 | 13.95 | 13.95 | 19.809 | 19.809
135 | C-3 | C-11 |  | 2" PVC Tee Bend | 1 | 0% | 1 | EA | 6.8712 | 6.8712 | 16.36 | 16.36 | 23.2312 | 23.2312
MISC. ITEMS
136 | C-3 | C-11 |  | (6"X6") Double Strap Stainless Saddle | 2 | 0% | 2 | EA | 74.88 | 149.76 | 234 | 468 | 308.88 | 617.76
137 | C-3 | C-11 |  | 6" C900 Pipe Valve | 2 | 0% | 2 | EA | 105.6 | 211.2 | 330 | 660 | 435.6 | 871.2
138 | C-3 | C-11 |  | 6" C900 Post Indicator Valve | 1 | 0% | 1 | EA | 185.6 | 185.6 | 580 | 580 | 765.6 | 765.6
139 | C-3 | C-11 |  | Fire Hydrant Assembly , Manufacturer: Mueller Centurion , Model: A-423 | 1 | 0% | 1 | EA | 152.32 | 152.32 | 476 | 476 | 628.32 | 628.32
140 | C-3 | C-11 |  | 6" Back Flow Preventer Device & Siamese Connection | 1 | 0% | 1 | EA | 270.4 | 270.4 | 845 | 845 | 1115.4 | 1115.4
141 | C-3 | C-11 |  | 6" C900 Double Check Valve | 1 | 0% | 1 | EA | 230.4 | 230.4 | 720 | 720 | 950.4 | 950.4
142 | C-3 | C-11 |  | 2" Domestic Water Meter | 1 | 0% | 1 | EA | 37.76 | 37.76 | 118 | 118 | 155.76 | 155.76
143 | C-3 | C-11 |  | 2" Irrigation Meter | 1 | 0% | 1 | EA | 94.4 | 94.4 | 295 | 295 | 389.4 | 389.4
144 | C-3 | C-11 |  | 2" PVC Double Check Valve | 2 | 0% | 2 | EA | 109.12 | 218.24 | 341 | 682 | 450.12 | 900.24
SANITARY ITEMS
SANITARY PIPES
145 | C-3 | C-11 |  | 6" Dia SDR 26 PVC Sanitary Sewer Pipe | 128.41 | 10% | 141.251 | LF | 3.444 | 486.4684 | 8.2 | 1158.2582 | 11.644 | 1644.7266
PIPE BENDS
146 | C-3 | C-11 |  | (8"X6") Saddle Wye | 1 | 0% | 1 | EA | 34.44 | 34.44 | 82 | 82 | 116.44 | 116.44
MISC. ITEMS
147 | C-3 | C-11 |  | Two - Way Traffic Rated Cleanout | 1 | 0% | 1 | EA | 102.06 | 102.06 | 243 | 243 | 345.06 | 345.06
GAS ITEMS
GAS PIPES
148 | C-3 | C-11 |  | Gas Service Line - By others (For Schematic Purposes) | 436.5 | 10% | 480.15 | LF | 10.5 | 5041.575 | 14.5 | 6962.175 | 25 | 12003.75
ELECTRICAL ITEMS
ELECTRICAL LINES
149 | C-3 | C-3 |  | Overhead Electric Service Conduits - By Others | 302.37 | 10% | 332.607 | LF | 5.208 | 1732.2173 | 12.4 | 4124.3268 | 17.608 | 5856.5441
150 | C-3 | C-3 |  | Underground Electric Service Conduits - By Others | 141.73 | 10% | 155.903 | LF | 4.284 | 667.8885 | 10.2 | 1590.2106 | 14.484 | 2258.0991
MISC. ITEMS
151 | C-3 | C-3 |  | Proposed Power Pole w/ Pole Mounted Transformer - By Others | 1 | 0% | 1 | EA | 3276 | 3276 | 7800 | 7800 | 11076 | 11076
SUB TOTAL | [13 empty] | 5496494.7486 | 5496494.7486
OVERHEAD & PROFIT (25%) | [12 empty] | 25% | 1374123.6872 | 1374123.6872
TOTAL BID | [13 empty] | 6870618.4358 | 6870618.4358