## BID SUMMARY
Project Name:
www.biddingpartners.com |  |  |  | Address:
+1 (347) 994-0941
Company:
PROJECT NAME: | PROPOSED DISPENSARY.
LOCATION: | SUNLAND PARK, NEW MEXICO.
BID DUE DATE: | 2023-09-15
|  | MATERIALS: | LABOR:
| LIGHTING QUOTE: | 46271.0629
| POWER & EQUIPMENT QUOTE: | 29360.7962
| SWITCH GEAR & FEEDERS | 28050.1831
| LIGHTING (INSTALLTION ONLY): | 15057.5319 | 188.2191
| POWER & EQUIPMENT (INSTALLTION ONLY): | 8423.6928 | 105.2962
| SWITCHGEAR & FEEDER (INSTALLTION ONLY): | 7938.4215 | 99.2303
UNITS:
| GENERAL MATERIAL COST: | 103682.0422
| CITY TAX (%): | 10.25%
| CITY TAX ($): | 10627.4093
| TOTAL GENERAL MATERIAL: | 114309.4515
| TOTAL LABOR HOURS: | 392.7456 | HRS
| MAN HOURLY RATE: | 80 | 31419.6462
| PROJECT MANAGEMENT (15%): | 15% | 65
| PROJECT MANAGEMENT (HRS): | 58.9118 | 3829.2694
| SUPERINTENDENT (15%): | 15% | 85
| SUPERINTENDENT (HRS): | 58.9118 | 5007.5061
| TOTAL LABOR: |  | 40256.4217
| MISCELLANOUS COST: |  | 10000
| EQUIPMENT & RENTALS: |  | 12000
| SUBTOTAL: |  | 166565.8732
| MARK UP: | 20% | 33313.1746
| TOTAL BID PROPOSAL: |  | 199879.0478

## LIGHTING
Estimate of Materials and Cost of Construction
|  |  | PROJECT: | PROPOSED DISPENSARY.
|  |  | ADDRESS: | SUNLAND PARK, NEW MEXICO.
|  |  | SCOPE: | ELECTRICAL WORK
|  |  | DATE | 2023-09-15
SR # | REF. SHEET | DETAIL SHEET | CSI SECT. | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR HOURS | TOTAL LABOR HOURS | UNIT LABOR COST | TOTAL LABOR COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 26 | ELECTRICAL | [12 empty] | 61328.5948
LIGHT FIXTURE
FLOOR PLAN
1 | E1.0 | E2.0 |  | A - Recessed LED Light Fixture - Size : 12" - Manf. : Halo - Model : SMD12R209SWHE | 40 | 0% | 40 | EA | 76.5 | 3060 | 0.26775 | 10.71 | 21.42 | 856.8 | 97.92 | 3916.8
2 | E1.0 | E2.0 |  | B - Bronze Dome Light Fixture - Size : 22" - Manf. : Progress Lighting - Model : P5342-2030K9 | 12 | 0% | 12 | EA | 312.71 | 3752.52 | 1.0945 | 13.1338 | 87.5588 | 1050.7056 | 400.2688 | 4803.2256
3 | E1.0 | E2.0 |  | C - Pendant Bar Light - Size : 6" - Manf. : Elegant Lighting - Model : LDPD2001 | 39 | 0% | 39 | EA | 72.2 | 2815.8 | 0.2527 | 9.8553 | 20.216 | 788.424 | 92.416 | 3604.224
4 | E1.0 | E2.0 |  | XM - Dual Head Exit Light - Manf. : Lithonia Lighting | 6 | 0% | 6 | EA | 117 | 702 | 0.4095 | 2.457 | 32.76 | 196.56 | 149.76 | 898.56
5 | E1.0 | E2.0 |  | XM - Four Head Exit Light - Manf : WareLight | 3 | 0% | 3 | EA | 148 | 444 | 0.518 | 1.554 | 41.44 | 124.32 | 189.44 | 568.32
6 | E1.0 | E2.0 |  | E - Exterior Wall Sconce Light Emergency Battery Backup (Weather Proof) - Size : 7" - Manf. : Rivoli - Model : PWS67469BK | 2 | 0% | 2 | EA | 118 | 236 | 0.413 | 0.826 | 33.04 | 66.08 | 151.04 | 302.08
7 | E1.0 | E2.0 |  | G - Exterior Wall Sconce Light (Weather Proof) - Size : 10" - Manf. : Bellevue - Model : SH50018ORB | 10 | 0% | 10 | EA | 84 | 840 | 0.294 | 2.94 | 23.52 | 235.2 | 107.52 | 1075.2
8 | E1.0 | E2.0 |  | EM - Dual Head Emergency Light Fixture w/ Battery Backup - Manf. : Lavex - Model : 695EABRC | 7 | 0% | 7 | EA | 48 | 336 | 0.168 | 1.176 | 13.44 | 94.08 | 61.44 | 430.08
9 | E1.0 | E2.0 |  | F2 - (1-6"x3') Troffer LED Light Note: No Details Found For Light "F2" , We Assumed it as troffer, Please Verify Manf: Lithonia Lighting | 63 | 0% | 63 | EA | 92 | 5796 | 0.322 | 20.286 | 25.76 | 1622.88 | 117.76 | 7418.88
CANOPY PLAN
10 | A4.0 | E2.0 |  | H - 22" x 22" Parabolic Lens Troffer Grid Mounts Energy Saving LED Light Manf: Lithonia Lighting | 4 | 0% | 4 | EA | 190 | 760 | 0.76 | 3.04 | 60.8 | 243.2 | 250.8 | 1003.2
SITE PLAN
11 | E1.0 | E1.0 |  | SL2 - Dual Head Pole Light - Fixtures Only Assumed 80 W Lights | 1 | 0% | 1 | EA | 1180 | 1180 | 2.1875 | 2.1875 | 175 | 175 | 1355 | 1355
12 | E1.0 | E1.0 |  | SL3 - Triple Head Pole Light - Fixtures Only Assumed 80 W Lights | 1 | 0% | 1 | EA | 1648 | 1648 | 2.725 | 2.725 | 218 | 218 | 1866 | 1866
CONDUITS & WIRING
FLOOR PLAN
13 | E1.0 | E1.0 |  | 3/4" Lighting Conduit | 1646.3 | 10% | 1810.93 | LF | 2.2 | 3984.046 | 0.01045 | 18.9242 | 0.836 | 1513.9375 | 3.036 | 5497.9835
14 | E1.1 | E1.1 |  | 2#12 Lighting Wiring | 3292.6 | 10% | 3621.86 | LF | 3.72 | 13473.3192 | 0.01767 | 63.9983 | 1.4136 | 5119.8613 | 5.1336 | 18593.1805
15 | E1.1 | E1.1 |  | 1#12 Ground Wiring | 1646.3 | 10% | 1810.93 | LF | 3.72 | 6736.6596 | 0.01767 | 31.9991 | 1.4136 | 2559.9306 | 5.1336 | 9296.5902
CANOPY PLAN
16 | E1.2 | E1.2 |  | 3/4" Lighting Conduit | 34.48 | 10% | 37.928 | LF | 2.2 | 83.4416 | 0.01045 | 0.39635 | 0.836 | 31.7078 | 3.036 | 115.1494
17 | E1.2 | E1.2 |  | 2#12 Lighting Wiring | 68.96 | 10% | 75.856 | LF | 3.72 | 282.1843 | 0.01767 | 1.3404 | 1.4136 | 107.23 | 5.1336 | 389.4144
18 | E1.2 | E1.2 |  | 1#12 Ground Wiring | 34.48 | 10% | 37.928 | LF | 3.72 | 141.0922 | 0.01767 | 0.67019 | 1.4136 | 53.615 | 5.1336 | 194.7072
[10 empty] | 46271.0629 |  | 188.2191 |  | 15057.5319

## POWER & EQUIPMENT
Estimate of Materials and Cost of Construction
|  |  | PROJECT: | PROPOSED DISPENSARY.
|  |  | ADDRESS: | SUNLAND PARK, NEW MEXICO.
|  |  | SCOPE: | ELECTRICAL WORK
|  |  | DATE | 2023-09-15
SR # | REF. SHEET | DETAIL SHEET | CSI SECT. | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR HOURS | TOTAL LABOR HOURS | UNIT LABOR COST | TOTAL LABOR COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 26 | ELECTRICAL | [12 empty] | 37784.489
POWER FIXTURE
FLOOR PLAN
1 | E1.0 | E3.0 |  | Duplex Receptacle - 15A | 41 | 0% | 41 | EA | 25 | 1025 | 0.0875 | 3.5875 | 7 | 287 | 32 | 1312
2 | E1.0 | E3.0 |  | Duplex Receptacle - Ground Fault Circuit Interrupter (Weather Proof) | 4 | 0% | 4 | EA | 28 | 112 | 0.098 | 0.392 | 7.84 | 31.36 | 35.84 | 143.36
3 | E1.0 | E3.0 |  | Junction Box, Ampere: 20A, Voltage: 120V (Weather Proof) | 1 | 0% | 1 | EA | 105 | 105 | 0.3675 | 0.3675 | 29.4 | 29.4 | 134.4 | 134.4
4 | E1.0 | E3.0 |  | Television/ Data Outlet | 4 | 0% | 4 | EA | 65 | 260 | 0.2275 | 0.91 | 18.2 | 72.8 | 83.2 | 332.8
5 | E2.0 | E2.0 |  | Photocell/ Contactor For Exterior Light | 1 | 0% | 1 | EA | 135 | 135 | 0.4725 | 0.4725 | 37.8 | 37.8 | 172.8 | 172.8
6 | E2.0 | E2.0 |  | Time Clock For Exhaust Fan | 1 | 0% | 1 | EA | 44 | 44 | 0.154 | 0.154 | 12.32 | 12.32 | 56.32 | 56.32
7 | E2.0 | E2.0 |  | 120V Contactor For Exhaust Fan | 1 | 0% | 1 | EA | 55 | 55 | 0.1925 | 0.1925 | 15.4 | 15.4 | 70.4 | 70.4
8 | E1.0 | E3.0 |  | WH-1 - Electrical Water Heater, Voltage: 240V, Phase: 2P, Ampere: 60A | 1 | 0% | 1 | EA | 610 | 610 | 2.135 | 2.135 | 170.8 | 170.8 | 780.8 | 780.8
CANOPY PLAN
9 | E1.0 | E2.0 |  | Junction Box, Ampere: 20A, Voltage: 120V (Weather Proof) | 1 | 0% | 1 | EA | 105 | 105 | 0.3675 | 0.3675 | 29.4 | 29.4 | 134.4 | 134.4
SITE PLAN
10 | E1.0 | E1.0 |  | Duplex Receptacle - Ground Fault Circuit Interrupter (Weather Proof) | 1 | 0% | 1 | EA | 28 | 28 | 0.098 | 0.098 | 7.84 | 7.84 | 35.84 | 35.84
11 | E1.0 | E1.0 |  | Junction Box, Ampere: 20A, Voltage: 120v (Weather Proof) | 1 | 0% | 1 | EA | 105 | 105 | 0.3675 | 0.3675 | 29.4 | 29.4 | 134.4 | 134.4
CONDUITS & WIRING
FLOOR PLAN
12 | E1.0 | E3.0 |  | 3/4" Power Conduit | 314.77 | 10% | 346.247 | LF | 2.2 | 761.7434 | 0.0077 | 2.6661 | 0.616 | 213.2882 | 2.816 | 975.0316
13 | E1.0 | E3.0 |  | 2#12 Power Wiring | 629.54 | 10% | 692.494 | LF | 3.72 | 2576.0777 | 0.01302 | 9.0163 | 1.0416 | 721.3018 | 4.7616 | 3297.3794
14 | E1.0 | E3.0 |  | 1#12 Ground Wiring | 314.77 | 10% | 346.247 | LF | 3.72 | 1288.0388 | 0.01302 | 4.5081 | 1.0416 | 360.6509 | 4.7616 | 1648.6897
SITE PLAN
15 | E1.0 | E1.0 |  | 3/4" Conduit | 53.04 | 10% | 58.344 | LF | 2.2 | 128.3568 | 0.0077 | 0.44925 | 0.616 | 35.9399 | 2.816 | 164.2967
16 | E1.0 | E1.0 |  | 2#10 CU Wiring | 106 | 10% | 116.6 | LF | 3.82 | 445.412 | 0.01337 | 1.5589 | 1.0696 | 124.7154 | 4.8896 | 570.1274
17 | E1.0 | E1.0 |  | 1#10 CU Ground Wiring | 53.04 | 10% | 58.344 | LF | 3.82 | 222.8741 | 0.01337 | 0.78006 | 1.0696 | 62.4047 | 4.8896 | 285.2788
18 | E1.0 | E1.0 |  | Underground 4" Conduit | 133.73 | 10% | 147.103 | LF | 14.2 | 2088.8626 | 0.0497 | 7.311 | 3.976 | 584.8815 | 18.176 | 2673.7441
19 | E1.0 | E1.0 |  | 4-350 KCMIL Wiring | 534.92 | 10% | 588.412 | LF | 19.83 | 11668.21 | 0.069405 | 40.8387 | 5.5524 | 3267.0988 | 25.3824 | 14935.3087
20 | E1.0 | E1.0 |  | 1#4 CU. Ground Wiring | 133.73 | 10% | 147.103 | LF | 6.2 | 912.0386 | 0.0217 | 3.1921 | 1.736 | 255.3708 | 7.936 | 1167.4094
21 | E1.0 | E1.0 |  | 2" Conduit w/ Pullstring (From Box To End Of Property Line) | 8.63 | 10% | 9.493 | LF | 13.4 | 127.2062 | 0.0469 | 0.44522 | 3.752 | 35.6177 | 17.152 | 162.8239
22 | E1.0 | E1.0 |  | 3/4" Conduit - For Pylon Signage | 18.31 | 10% | 20.141 | LF | 2.2 | 44.3102 | 0.0077 | 0.15509 | 0.616 | 12.4069 | 2.816 | 56.7171
23 | E1.0 | E1.0 |  | 3#8 CU. Wiring | 54.93 | 10% | 60.423 | LF | 3.96 | 239.2751 | 0.01386 | 0.83746 | 1.1088 | 66.997 | 5.0688 | 306.2721
24 | E1.0 | E1.0 |  | 1#8 CU. Ground Wiring | 18.31 | 10% | 20.141 | LF | 3.96 | 79.7584 | 0.01386 | 0.27915 | 1.1088 | 22.3323 | 5.0688 | 102.0907
25 | E1.0 | E1.0 |  | 4" Conduit (From Wiring Gutter To Panels) | 10 | 10% | 11 | LF | 14.2 | 156.2 | 0.0497 | 0.5467 | 3.976 | 43.736 | 18.176 | 199.936
26 | E1.0 | E1.0 |  | 4 #500 KCMIL CU. Thwn Wiring (From Wiring Gutter To Panels) | 40 | 10% | 44 | LF | 12.2 | 536.8 | 0.0427 | 1.8788 | 3.416 | 150.304 | 15.616 | 687.104
27 | E1.0 | E1.0 |  | 1 #3 Cu. Ground Wire (From Wiring Gutter To Panels) | 10 | 10% | 11 | LF | 7.92 | 87.12 | 0.02772 | 0.30492 | 2.2176 | 24.3936 | 10.1376 | 111.5136
28 | E1.0 | E1.0 |  | 2-1/2" Conduit (From Wiring Gutter To Panels) | 10 | 10% | 11 | LF | 13.85 | 152.35 | 0.048475 | 0.53323 | 3.878 | 42.658 | 17.728 | 195.008
29 | E1.0 | E1.0 |  | 4 #3/0 CU. Thwn Wiring (From Wiring Gutter To Panels) | 40 | 10% | 44 | LF | 7.92 | 348.48 | 0.02772 | 1.2197 | 2.2176 | 97.5744 | 10.1376 | 446.0544
30 | E1.0 | E1.0 |  | 1 #6 Cu. Ground Wire (From Wiring Gutter To Panels) | 10 | 10% | 11 | LF | 5.3 | 58.3 | 0.01855 | 0.20405 | 1.484 | 16.324 | 6.784 | 74.624
31 | E1.0 | E1.0 |  | 1" Conduit (Ground Rods To Metering Gutter) | 20 | 10% | 22 | LF | 10 | 220 | 0.035 | 0.77 | 2.8 | 61.6 | 12.8 | 281.6
32 | E1.0 | E1.0 |  | 1 #3/0 CU. Ground Wiring (Ground Rods To Metering Gutter) | 20 | 10% | 22 | LF | 7.92 | 174.24 | 0.02772 | 0.60984 | 2.2176 | 48.7872 | 10.1376 | 223.0272
33 | E1.0 | E1.0 |  | (1) #2 AWG Solid Soffit Copper Wire At Lighting Pole | 20 | 0% | 20 | EA | 8 | 160 | 0.028 | 0.56 | 2.24 | 44.8 | 10.24 | 204.8
34 | E1.0 | E1.0 |  | (2) 3" Conduit (From Main Service To Panels) | 31.84 | 10% | 35.024 | LF | 13.85 | 485.0824 | 0.048475 | 1.6978 | 3.878 | 135.8231 | 17.728 | 620.9055
35 | E1.0 | E1.0 |  | 4#250 KCMIL Aluminum Wire (From Main Service To Panels) | 127.36 | 10% | 140.096 | LF | 8 | 1120.768 | 0.028 | 3.9227 | 2.24 | 313.815 | 10.24 | 1434.583
36 | E1.0 | E1.0 |  | 1-1/0 Aluminum Ground Wire (From Main Service To Panels) | 31.84 | 10% | 35.024 | LF | 3 | 105.072 | 0.0105 | 0.36775 | 0.84 | 29.4202 | 3.84 | 134.4922
37 | E1.0 | E1.0 |  | Excavation (For Underground Conduits) | 29.7178 | 10% | 32.6896 | CY |  |  | 0.06 | 1.9614 | 4.8 | 156.9099 | 4.8 | 156.9099
38 | E1.0 | E1.0 |  | Backfill (After Conduits Placement) | 26 | 10% | 28.6 | CY |  |  | 0.02 | 0.572 | 1.6 | 45.76 | 1.6 | 45.76
SENSORS
FLOOR PLAN
39 | A4.0 | A4.0 |  | Smoke Detector | 10 | 0% | 10 | EA | 42 | 420 | 0.147 | 1.47 | 11.76 | 117.6 | 53.76 | 537.6
FLOOR PLAN
40 | E1.0 | E1.0 |  | Timer Contactor Controlled By Photocell | 2 | 0% | 2 | EA | 35 | 70 | 0.1225 | 0.245 | 9.8 | 19.6 | 44.8 | 89.6
SWITCHES
FLOOR PLAN
41 | E1.0 | E2.0 |  | Single Pole Switch - 15A | 9 | 0% | 9 | EA | 22 | 198 | 0.077 | 0.693 | 6.16 | 55.44 | 28.16 | 253.44
42 | E1.0 | E2.0 |  | 3-Way Switch | 2 | 0% | 2 | EA | 28 | 56 | 0.098 | 0.196 | 7.84 | 15.68 | 35.84 | 71.68
43 | E1.0 | E2.0 |  | Toggle Switch, 1Pole, 20Ampere For Exhaust Fan | 1 | 0% | 1 | EA | 28.22 | 28.22 | 0.09877 | 0.09877 | 7.9016 | 7.9016 | 36.1216 | 36.1216
44 | E1.0 | E2.0 |  | Wall Mounted Occupancy Sensor Switch Dual Technology. Basis Of Design, Manufacturer: Greengage, Model: OSW-DT | 19 | 0% | 19 | EA | 92 | 1748 | 0.322 | 6.118 | 25.76 | 489.44 | 117.76 | 2237.44
45 | E1.0 | E2.0 |  | Motor Rated Switch - 30A | 2 | 0% | 2 | EA | 35 | 70 | 0.1225 | 0.245 | 9.8 | 19.6 | 44.8 | 89.6
[10 empty] | 29360.7962 |  | 105.2962 |  | 8423.6928

## SWITCH GEAR & FEEDERS
Estimate of Materials and Cost of Construction
|  |  | PROJECT: | PROPOSED DISPENSARY.
|  |  | ADDRESS: | SUNLAND PARK, NEW MEXICO.
|  |  | SCOPE: | ELECTRICAL WORK
|  |  | DATE | 2023-09-15
SR # | REF. SHEET | DETAIL SHEET | CSI SECT. | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR HOURS | TOTAL LABOR HOURS | UNIT LABOR COST | TOTAL LABOR COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 26 | ELECTRICAL | [12 empty] | 35990.0456
PANEL
1 | E1.0 | E1.0 |  | Panelboard "B" - Voltage: 120/208V, Phase: 3PH, Ampere: 200A, Wire: 4 | 1 | 0% | 1 | EA | 592 | 592 | 2.072 | 2.072 | 165.76 | 165.76 | 757.76 | 757.76
PANEL "B" CIRCUIT BREAKER
2 | E1.0 | E1.0 |  | Circuit Breaker, Ampere: 20A, Pole: 1P | 20 | 0% | 20 | EA | 78 | 1560 | 0.273 | 5.46 | 21.84 | 436.8 | 99.84 | 1996.8
TRANSFORMER
3 | E1.0 | E1.0 |  | Pole Mounted Utility Transformer, Voltage: 120/208V, Phase: 3PH, Ampere: 600A, Wire: 4W - By Utility Company | 1 | 0% | 1 | EA | 7500 | 7500 | 26.25 | 26.25 | 2100 | 2100 | 9600 | 9600
CIRCUIT BREAKER
4 | E1.0 | E1.0 |  | Circuit Breaker , Voltage: 120V - For Circulating Pump | 1 | 0% | 1 | EA | 108 | 108 | 0.378 | 0.378 | 30.24 | 30.24 | 138.24 | 138.24
DISCONNECT SWITCH
5 | E1.0 | E1.0 |  | Disconnect Switch For Outdoor Unit (Weather Proof) | 3 | 0% | 3 | EA | 120 | 360 | 0.42 | 1.26 | 33.6 | 100.8 | 153.6 | 460.8
6 | E1.0 | E1.0 |  | Disconnect Switch For Indoor Unit (Weather Proof) | 2 | 0% | 2 | EA | 120 | 240 | 0.42 | 0.84 | 33.6 | 67.2 | 153.6 | 307.2
7 | E1.0 | E1.0 |  | Disconnect Switch For RTU (Weather Proof) | 3 | 0% | 3 | EA | 120 | 360 | 0.42 | 1.26 | 33.6 | 100.8 | 153.6 | 460.8
8 | E1.0 | E1.0 |  | Disconnect Switch For Electric Water Heater (Weather Proof) | 1 | 0% | 1 | EA | 120 | 120 | 0.42 | 0.42 | 33.6 | 33.6 | 153.6 | 153.6
METERS
9 | E1.0 | E1.0 |  | Electrical Meter By Power Company | 1 | 0% | 1 | EA | 700 | 700 | 2.45 | 2.45 | 196 | 196 | 896 | 896
ELECTRICAL EQUIPMENT
10 | E1.0 | E1.0 |  | Proposed Electrical Service Disconnect, Ampere: 600A, Voltage: 208/120V, Phase: 3PH, Wire: 4W, w/ 600Ampere Fuses | 1 | 0% | 1 | EA | 3684 | 3684 | 12.894 | 12.894 | 1031.52 | 1031.52 | 4715.52 | 4715.52
11 | E1.0 | E1.0 |  | CT Cabinet | 1 | 0% | 1 | EA | 1497 | 1497 | 2.65 | 2.65 | 212 | 212 | 1709 | 1709
12 | E1.0 | E1.0 |  | 10"x10"x60" Metering Gutter, Voltage: 120/208V, Phase: 3PH, Wire: 4W | 1 | 0% | 1 | EA | 650 | 650 | 2.275 | 2.275 | 182 | 182 | 832 | 832
13 | E1.0 | E1.0 |  | Wiring Gutter | 1 | 0% | 1 | EA | 375 | 375 | 1.3125 | 1.3125 | 105 | 105 | 480 | 480
14 | E1.0 | E1.0 |  | Weather Head Per Utility Company Standards (10'H) | 1 | 0% | 1 | EA | 220 | 220 | 0.77 | 0.77 | 61.6 | 61.6 | 281.6 | 281.6
15 | E1.0 | E1.0 |  | 3/4" Copper Weld Ground Rods - 10' High | 2 | 0% | 2 | EA | 65 | 130 | 0.2275 | 0.455 | 18.2 | 36.4 | 83.2 | 166.4
SITE PLAN
ELECTRICAL EQUIPMENT
16 | E1.0 | E1.0 |  | Proposed Electrical Service Pole (15'H) Note: Height is Assumed | 1 | 0% | 1 | EA | 2475 | 2475 | 8.6625 | 8.6625 | 693 | 693 | 3168 | 3168
17 | E1.0 | E1.0 |  | (4'x1'-6") AT&T Telephone Box | 1 | 0% | 1 | EA | 380 | 380 | 1.33 | 1.33 | 106.4 | 106.4 | 486.4 | 486.4
DISCONNECT SWITCH
18 | E1.0 | E1.0 |  | Disconnect Switch (Weather Proof) | 1 | 0% | 1 | EA | 120 | 120 | 0.42 | 0.42 | 33.6 | 33.6 | 153.6 | 153.6
CIRCUITE BREAKER
19 | E1.0 | E1.0 |  | Circuit Breaker, Voltage: 208V, Pole: 2P, Ampere: 30A | 1 | 0% | 1 | EA | 108 | 108 | 0.378 | 0.378 | 30.24 | 30.24 | 138.24 | 138.24
ELECTRICAL POLE
20 | E1.0 | E1.0 |  | Lighting Standard Pole (15'H) Note: Height is Assumed | 2 | 0% | 2 | EA | 2475 | 4950 | 3.25 | 6.5 | 260 | 520 | 2735 | 5470
21 | E1.0 | E1.0 |  | (4" x 6") Hand Hole | 2 | 0% | 2 | EA | 70 | 140 | 0.2975 | 0.595 | 23.8 | 47.6 | 93.8 | 187.6
21 | E1.0 | E1.0 |  | Ground Lug In Pole | 2 | 0% | 2 | EA | 24 | 48 | 0.102 | 0.204 | 8.16 | 16.32 | 32.16 | 64.32
22 | E1.0 | E1.0 |  | (1/2"Dia x 8'-0") Copper weld Ground Rod | 2 | 0% | 2 | EA | 55 | 110 | 0.23375 | 0.4675 | 18.7 | 37.4 | 73.7 | 147.4
23 | E1.0 | E1.0 |  | Cast Bronze Clamp (3/32" Thickness) | 2 | 0% | 2 | EA | 16 | 32 | 0.068 | 0.136 | 5.44 | 10.88 | 21.44 | 42.88
24 | E1.0 | E1.0 |  | Anchor Bolt Cover | 2 | 0% | 2 | EA | 11.5 | 23 | 0.048875 | 0.09775 | 3.91 | 7.82 | 15.41 | 30.82
25 | E1.0 | E1.0 |  | Anchor Bolt | 8 | 0% | 8 | EA | 75 | 600 | 0.31875 | 2.55 | 25.5 | 204 | 100.5 | 804
26 | E1.0 | E1.0 |  | 24" Circular Concrete Base (6'h) Note: Size & Depth Assumed | 2.09 | 10% | 2.299 | CY | 304.75 | 700.6202 | 3.3781 | 7.7663 | 270.25 | 621.3048 | 575 | 1321.925
27 | E1.0 | E1.0 |  | 4#6 Bars Vertical Note: We Assumed Reinforcement | 108 | 10% | 118.8 | LBS | 1.696 | 201.4848 | 0.0188 | 2.2334 | 1.504 | 178.6752 | 3.2 | 380.16
28 | E1.0 | E1.0 |  | #3 Stirrups @ 9" O.C. Note: We Assumed Reinforcement | 56.6707 | 10% | 62.3378 | LBS | 1.06 | 66.0781 | 0.01175 | 0.73247 | 0.94 | 58.5975 | 2 | 124.6756
29 | E1.0 | E1.0 |  | Excavation (For Lighting & Service Pole Footings) | 4.32 | 10% | 4.752 | CY |  |  | 1.06 | 5.0371 | 84.8 | 402.9696 | 85 | 403.92
30 | E1.0 | E1.0 |  | Backfill (For Lighting & Service Pole Footings) | 2.23 | 10% | 2.453 | CY |  |  | 0.56 | 1.3737 | 44.8 | 109.8944 | 45 | 110.385
[10 empty] | 28050.1831 |  | 99.2303 |  | 7938.4215